CNN – LSTM

| Metric | Ideal Value |
| --- | --- |
| False Negative (FN) | Low (Best = 0) |
| False Positive (FP) | Low (Best = 0) |
| Accuracy | High (Closer to 100%) |
| ROC-AUC | High (Closer to 1.0) |
| Overfitting | No |
| Underfitting | No |
| F2-Score | High (Closer to 1.0) |

TCN model

- False Positives (FP):1,046

- False Negatives (FN): 817

- Accuracy: 61.03%

- ROC-AUC: 0.6396

- F2 Score: ≈ 0.591

XGBOOST

| Metric | Value |
| --- | --- |
| False Positive | 4,125 |
| False Negative | 2,978 |
| Accuracy | 73.18% |
| F2-Score | 0.76 |
| ROC-AUC | 0.82 |
| Model Status | Underfitting |

LSTM

Overall Accuracy: 0.7778

F1 Score (macro): 0.7750

F1 Score (weighted): 0.7444

Precision (macro): 0.8333

Recall (macro): 0.8333

ROC AUC (macro, OVR): 0.9444

TIME SERIES

| Evaluation Metric | Example Value |
| --- | --- |
| Accuracy | 92.40% |
| Precision | 0.91 |
| Recall (Sensitivity) | 0.93 |
| Specificity | 0.94 |
| F2 Score | 0.92 |
| ROC-AUC Score | 0.95 |
| False Positive (FP) | 18 |
| False Negative (FN) | 9 |
| Overfitting | No (Train Accuracy ≈ 93.5%, Test Accuracy ≈ 92.4%) |
| Underfitting | No |